FROZEN BONE & SOFT TISSUE ALLOGRAFT

This tissue was recovered from deceased donors whose legal next of kin has given permission for the bone or soft tissue to be donated. Recovery was performed using surgical procedures. Processing and packaging were performed under controlled conditions.

DESCRIPTION

This unit of allograft was prepared from tissues procured from cadaver donors. During procurement , processing and packaging, tissues were bacteriologically tested. This product was prepared from tissues which were cleaned using 70% ethanol, washing with water for injection and sonication. This product is derived from tissues which have been treated with Polymixin B sulfate and Bacitracin and may contain trace amounts of residual antibiotics. Cleaning, cutting, sizing, shaping; container sterilization; filling,, and freezing  were performed under conditions following industry standards.

DONOR SCREENING AND TESTING

Prior to donation, the donor’s medical/social history was screened for medical conditions or disease processes that would contraindicate the donation of tissues in accordance with the current policies and procedures of the procuring tissue bank.  Policies and procedures for donor screening, serological and microbiologic testing, meet or exceeds current standards established by the US Food and Drug Administration. Contraindications for the degenerative diseases, diseases of unknown etiology, and exposure to toxic substances.  The donor’s medical/social history was also screened for HIV high risk factors in accordance with current United States Public Health Services Reccommendations For The  Prevention of  HIV Transmission Through Tissue and Organ Donation.

Testing of donor serum taken at the time of recovery was tested, using tests licensed by the US Food and Drug Administration, in a CLIA approved laboratory and found to be negative or non-reactive for:

- HEPATITIS B SURFACE ANTIGEN

- HIV 1 & 2 ANTIBODY

- RPR/SYPHILIS

- HTLV-1 ANTIBODY

- HEPATITIS C (2.0) ANTIBODY

The individual tissues collected at recovery were cultured for:

- surface microbial contaminants: aerobic.

- surface microbial contaminants: anaerobic.

TREATMENT WITH GAMMA IRRADIATION

All California Transplant Services, Inc. tissues are recovered in operating rooms or other facilities with similar environments. It is the policy of the California Transplant Services, Inc. that all tissues be recovered in an aseptic fashion and maintained as such throughout processing and distribution and distribution to the user. It is possible, however, for some tissues to demonstrate positive cultures upon recovery as a result of factors related to the recovery process. Those tissues exposed to a (1.5-2.0 megarads) dose of gamma radiation as a means of reducing the tissue bioburden prior to processing are then processed in standard aseptic fashion and are identified by the label “PRETREATED WITH RADIATION”.  The effects of low dose irradiation on the biological properties of human bone tissue are not fully understood at this time. Tissues identified by a label indicating "STERILIZED BY IRRADIATION" should be considered to be terminally sterilized by irradiation.

Indications and usage

At present, bone graft biology is incompletely understood. However, many aspects of bone graft incorporation are known. In principle, autografts are preferred over allografts. Bone grafts are used as struts for structural support. Cortical allografts, being only osteoconductive, unite to the host much more slowly than their autologous counterparts and are usually incorporated only superficially. While this may suffice for the needed structural support, they are more prone to subsequent fracture or resorption than their autogenous counterparts. Conditions of host bed is equally important to the quality of the graft for optimal incorporation.

Contraindications, side effects and hazards

No absolute contraindications are known to exist. Trace amounts of Bacitracin and Polymixin B antibiotics may be present and caution should be exercised if the patient is allergic to these antibiotics. A relative contraindication would include the presence of infection in the host bed where the graft is applied. Autologous grafts should be used whenever possible. Side effects and hazards should be considered and weighed against the limitations of autogenous grafts against the limitations of autogenous grafts or bone substitutes. Limitations of allografts include slow and/or incomplete incorporation and resorption which maybe due to the differences in histocompatability factors between the recipient and donor. Bacterial infection at the site of grafting may occur. This complication may not be apparent for long periods of time (6-24 months) after grafting. Transmission of infectious disease may occur in spite of careful donor selection and testing of the bone donor before the graft is made available for use.

PRECAUTIONS

Because of potential violations of sterility, this product must not be used under the following circumstances:

- The product outer plastic wrap is damaged or missing.

- The container in which the product is stored in is damaged.

- The expiration date has been reached.

- The product container is not labeled or the label or the information on the label is obliterated to defaced.

- The product has not been stored at <60°C.

- If any of the package or product elements appear to be missing, damaged, or tampered with.

- If the product label or identifying bar code is severely damaged, not readable or missing.

- If the expiration date shown on the package label has passed.

If any of the conditions mentioned above exist or are suspected, please notify California Transplant Services, Inc.

Instructions for preparing product for administration

It is recommended that the graft be stored on dry ice or in a -60°C freezer until time of surgery. Short term storage of less than six months at the user’s facility at -20°C to -60°C is acceptable.

- Cut open outer bag with non-sterile scissors and remove sterile peel pouch.

- Open pouch using proper sterile technique.

- Hand off inner sealed bag with scissors and remove tissue. If you choose to culture the tissue at this time you may find nonviable organisms on a gram stain.

- Place the graft in a sterile steel basin or equivalent containing warm (39°C+/-2°C) Lactated Ringers Solution and one vial each of Polymixin B 500,000 units and Bacitracin 50,000 units or 75 ml Alloprep Solution.

- The graft should remain in this solution for 15 to 20 minutes to allow full thawing. Soft tissue only: remove remaining cloth layers.

- The graft should be rinsed 3 times in Ringers lactate or sterile saline.

- Transfer to a sterile basin.

Dosage and grafting procedure

The amount of graft needed is based on the size of the osseous defect. Tight fitting of the osseous defect is customary. Preparation of host bed is important for graft incorporation, in particular, the host bed must be devoid of infection. The graft should be also secured fixed to the host bone whenever possible to prevent displacement and to aid incorporation.

How supplied

The size, configuration, the nature of the bone (cancellous or cortical), volumetric amount (if applicable and the number of segments (if applicable) of this graft is provided on the unit label.

Storage

Store this product at below -60°C. Freezing at between -20°C and -60°C will not damage the product but the shelf life will be reduced to six months from the time of being placed in the freezer, and in any event

Processed by

(Facilitly listed in package label)

Distributed by:

California Transplant Services, Inc.

6965 El Camino Real, Suite 105-175

Rancho La Costa, California 92009

619-943-0694

Disclaimer:

The information contained in this document represents the current view of California Transplant Services, Inc. on the use of Freeze Dried Bone as of the date of publication. Because California Transplant Services, Inc. must respond to changing conditions, the information in this document should not be interpreted to be a commitment on the part of the California Transplant Services, Inc., and California Transplant Services, Inc. cannot guarantee the accuracy of any information presented after the date of publication. This document is for informational use only. California Transplant Services, Inc. MAKES NO WARRANTY OF MERCHANTABILITY OR FITNESS FOR A PARTICULAR USE, EXPRESSED OR IMPLIED, IN THIS DOCUMENT.

This document can be made available in alternative formats for people with disabilities upon request to the California Transplant Services, Inc. administrative offices, (619) 943-0694.  				Printed in the USA

ã 1994 California Transplant Services, Inc.		 October       1994